SRI DURGADEVI POLYTECHNIC COLLEGE

DEPARTMENT OF ELECTRICAL AND ELECTRONICS

ENGINEERING

PROJECT PROPOSAL FOR THE YEAR 2022-2023

TITLE  OF PROJECT:

SOLAR AND WIND PV MICRO GRID SYSYTEM

PROJECT MEMBERS:

REGISTER NUMBER                       NAME OF THE STUDENT

21306428                                                    BELLAMKONDA MUKESH KUMAR

21306424                                                    ASHWIN R

21306433                                                    DEVASENNATHIPATHY K

21306455                                                    LOKESWARAN B

21306441                                                    GOKUL RAMAN K

21306452                                                    LAKNESH V

GUIDED  BY:

Mrs.S.JAMUNA B.E.,

LECTURER/EEE.,

APPROXIMATE  COST: Rs.10,000/-

PROJECT ABSTRACT

INTRODUCTION:

THERE are many remote locations in the world, which do not have access to electricity. There are also

many places, which are connected to the grid, however, they do not receive electricity for up to  10- 12 h

in the day and as a result of it, economic activities of inhabitants suffer. Many of such places are rich in renewable energy (RE) sources, such as wind, solar, and bio-mass. An autonomous generation system

utilizing locally available RE sources can greatly reduce the dependency on the grid power, which is

predominantly fossil power. Wind and solar energy sources are more favorite than bio-mass-based system as latter is susceptible to supply chain issue. However, wind  and  solar  energies  suffer  from high  level  of

power variability,  low  capacity utilization  factor combined with unpredictable nature. As a result of these factors, firm power cannot be guaranteed for the autonomous system. While the battery energy storage

(BES) can be helpful of lowering power fluctuation and  increasing predictability, utilization  factor  can be  increased by  operating  each  energy  source  at optimum operating point.

EXISTING SYSTEM:

A hybrid energy system consisting of two or more type of energy  sources has  ability to reduce the BES

requirement  and  increases reliability. Wind  and  solar energies are natural allies for hybridization. Both have been known to be complementary to each other in daily as well as yearly pattern of the behavior.

Acknowledging advantages of this combination, many authors have presented autonomous wind solar

hybrid  systems  .The most  favorite machine  for  small wind power  application  is permanent  magnet

synchronous generator . It is possible to achieve gearless configuration with PMSG, however, it requires 100 % rated converter in addition to costlier machine . Some authors have also used a wind solar hybrid

system with a squirrel cage induction generator (SCIG) . Although SCIG has commercial edge regarding

machine cost, however, the scheme does not have speed regulation required to achieve MPPT. Moreover, if the speed regulation is done, it requires full power rated converter.

PROPOSED SYSTEM:

This paper presents a microgrid fed from wind and solar based RE generating sources (REGS). DFIG is used for wind power conversion while crystalline solar PV panels are used to convert solar energy. The control of overall scheme helps to provide quality power to its consumers for all conditions,

e.g.,

no-load, nonlinear load, and unbalanced loads. The controls of both generating sources are equipped with MPPT The DFIG in a proposed system has also two voltage source converters (VSC). In addition to LSC, DFIG also has another VSC connected to rotor circuit termed rotor-side converter (RSC). The function of RSC is to achieve wind MPPT(W-MPPT). The solar PV system is connected to the dc bus through solar converter, which boosts the solar PV array voltage. With this configuration, the solar power can be evacuated in a cost effective way. This converter too is equipped with solar MPPT(S-MPPT) control strategy to extract maximum solar energy. In case of unavailabity of wind energy source and lower state of charge of the battery, the battery bank can be charged through the grid power or a diesel generator through  the  same  RSC.A  single  line  diagram  of the  proposed  RE  generation  system  (REGS)  fed

microgrid is shown in Fig. 1. the wind energy source can be isolated using a three-pole breaker from the

network in case of insufficient wind

speed.

CIRCUIT DIAGRAM :-

The dc side of both RSC and LSC along with HV side of solar converter is connected at the battery bank. RSC helps the wind  energy  system to run  at the  optimum rotation  speed  as required by W-MPPT

algorithm. The LSC controls the network voltage and frequency.

ADVANTAGES:

•    REGS comprises wind and solar energy blocks, which are designed to extract the maximum power from the RE sources and at the sametime, it provides quality power to the consumers. The system has been designed for complete automated operation. This work also presents the sizing of

the major components.

APPLICATIONS:

•    Wind based energy sources.